WAPA dams: plant generation, 2018-2022

Prepared by Yi Lu for David Chassin (Eudoxys) and Bennet Meyers-Im (NLR)  |  Updated 2026-10-02

Generation data for the five WAPA projects listed by David Chassin (email of 2026-10-01). Only generation data is kept, in one folder per project.

# 1. Overview

| Folder | WAPA project | Plants | Best resolution |
| --- | --- | --- | --- |
| 1_Boulder_Canyon/ | Boulder Canyon Project | Hoover | Monthly |
| 2_Parker_Davis/ | Parker-Davis Project | Davis, Parker | Monthly |
| 3_CRSP/ | Colorado River Storage Project (CRSP) | Blue Mesa, Crystal, Flaming Gorge, Fontenelle, Glen Canyon, Morrow Point | Hourly (2018-01 to 2022-04) + monthly (2018-2022) |
| 4_Pick_Sloan/ | Pick-Sloan Missouri Basin Program | USBR: Alcova, Big Thompson, Boysen, Buffalo Bill, Canyon Ferry, Estes, Flatiron Unit 3 (pump-generating), Flatiron Units 1-2, Fremont Canyon, Glendo, Green Mountain, Guernsey, Heart Mountain, Kortes, Marys Lake, Pole Hill, Seminoe, Shoshone, Spirit Mountain, Yellowtail. USACE: Big Bend, Fort Peck, Fort Randall, Garrison, Gavins Point, Oahe | Monthly |
| 5_Central_Valley/ | Central Valley Project (CVP) | Folsom, Judge Francis Carr, Keswick, Lewiston, New Melones, Nimbus, Shasta, Spring Creek, Stampede, Trinity | Monthly |

Hourly: the only public hourly plant generation found is for the six CRSP plants (WAPA SCADA archive, 2018-01 to 2022-04).

Monthly generation is public for every USBR plant (USBR RISE) and for the six USACE Pick-Sloan mainstem dams (EIA-923).

No public hourly or daily generation was found for Hoover, Davis, Parker, the Pick-Sloan plants or the Central Valley Project plants (checked: USBR RISE, USBR regional hydrodata pages, WAPA web site, CDEC, USACE Missouri River Basin bulletins). Hourly data for these would have to be requested from WAPA / USBR.

# 2. Files

| File | Content |
| --- | --- |
| <n>_<Project>/USBR_RISE_monthly/<Project>_plant_generation_monthly_2018_2022.csv | Monthly generation of every USBR plant of the project, 2018-01 to 2022-12 |
| 3_CRSP/WAPA_SCADA_hourly/<Plant>_hourly_generation_2018-01_2022-04_UTC.csv | Hourly generation of each CRSP plant |
| 4_Pick_Sloan/EIA923_monthly_USACE_mainstem/Pick_Sloan_USACE_mainstem_generation_monthly_2018_2022.csv | Monthly net generation of the six USACE mainstem dams |
| plant_list.csv | All 45 plants: project, owner, state, Pick-Sloan division, data source and data file |
| sources.csv | All 235 source records: RISE series (web page + direct CSV link), SCADA PDFs, EIA-923 files |
| data_dictionary.csv | Column definitions and units of every file type |

All timestamps are UTC and hour-ending: the value at HH:00 is the average or total over the hour HH-1:00 to HH:00 (for instantaneous quantities, the reading at HH:00). Monthly values belong to the plant's local calendar month; they cannot be re-cut to UTC months without changing them, so the month is kept (RISE files also give its UTC start, period_start_utc).

# 3. Sources and method

## 3.1 USBR RISE (monthly generation, all USBR plants)

U.S. Bureau of Reclamation, Reclamation Information Sharing Environment (RISE), data from the Power Operations and Maintenance Tracking System: https://data.usbr.gov/

Every series has its own web page and a direct CSV download link in sources.csv.

USBR dates monthly values on the 1st of the month, but each value is the total (or end-of-month reading) for the whole month.

RISE stores some months twice (time stamps one hour apart). Duplicates are collapsed keeping the most recently created record; series where the two copies differ are flagged in the notes column of sources.csv (12 series).

## 3.2 WAPA SCADA archive (hourly generation, CRSP)

WAPA CRSP Management Center, "Historical power plant data": https://www.wapa.gov/about-wapa/regions/crsp/about-crsp/operations-maintenance/historical-power-plant-data/

One PDF per plant per year (2018-2021) and per month (January-April 2022); later months are not posted.

Only the Generation (MW) column is kept. It is read by the position of its header, so a blank cell elsewhere cannot shift values. Hours that are blank in the PDF stay empty; nothing is filled.

The SCADA clock is Mountain Standard Time all year (every day has 24 hours); converted to UTC by adding 7 hours.

WAPA's own note: the SCADA information "is believed to be reliable but is not guaranteed to be correct".

| Plant | Hours in period | Hours with generation | Coverage |
| --- | --- | --- | --- |
| Blue Mesa | 37,944 | 33,790 | 89.1% |
| Crystal | 37,944 | 33,953 | 89.5% |
| Flaming Gorge | 37,944 | 33,593 | 88.5% |
| Fontenelle | 37,944 | 33,305 | 87.8% |
| Glen Canyon | 37,944 | 33,206 | 87.5% |
| Morrow Point | 37,944 | 33,939 | 89.4% |

## 3.3 EIA-923 (monthly generation, USACE Pick-Sloan mainstem dams)

The six USACE mainstem dams (Fort Peck, Garrison, Oahe, Big Bend, Fort Randall, Gavins Point) are not in RISE and USACE does not publish their generation (its public bulletins give only elevations, storage and flows). Their monthly net generation comes from EIA-923, the mandatory monthly report of every US power plant: https://www.eia.gov/electricity/data/eia923/ (file f923_<year>.zip, sheet "Page 1 Generation and Fuel Data", columns "Netgen January" to "Netgen December", summed over the rows of each plant; matched by EIA plant id).

# 4. Projects

## 4.1 Boulder Canyon Project  (folder 1_Boulder_Canyon/)

Hoover Dam on the Colorado River (Lake Mead). Power marketed by WAPA Desert Southwest Region.

| USBR plant (RISE) | Months | Avg annual net generation (GWh) | Installed capacity (MW) |
| --- | --- | --- | --- |
| Hoover | 60 | 3,394 | 2,079 |

Not available: public hourly or daily plant generation (would have to be requested from WAPA / USBR).

## 4.2 Parker-Davis Project  (folder 2_Parker_Davis/)

Davis Dam (Lake Mohave) and Parker Dam (Lake Havasu) on the lower Colorado River. Power marketed by WAPA Desert Southwest Region.

| USBR plant (RISE) | Months | Avg annual net generation (GWh) | Installed capacity (MW) |
| --- | --- | --- | --- |
| Davis | 60 | 1,076 | 255 |
| Parker | 60 | 431 | 120 |

Not available: public hourly or daily plant generation (would have to be requested from WAPA / USBR).

## 4.3 Colorado River Storage Project (CRSP)  (folder 3_CRSP/)

Glen Canyon (Lake Powell), Flaming Gorge, Fontenelle and the Aspinall Unit (Blue Mesa, Morrow Point, Crystal). Power marketed by the WAPA CRSP Management Center.

| USBR plant (RISE) | Months | Avg annual net generation (GWh) | Installed capacity (MW) |
| --- | --- | --- | --- |
| Blue Mesa | 60 | 184 | 86 |
| Crystal | 60 | 140 | 32 |
| Flaming Gorge | 60 | 450 | 152 |
| Fontenelle | 60 | 50 | 10 |
| Glen Canyon | 60 | 3,415 | 1,320 |
| Morrow Point | 60 | 267 | 173 |

Hourly generation comes from the WAPA SCADA archive (section 3); the monthly RISE file covers all of 2018-2022.

For Blue Mesa, Morrow Point, Crystal, Fontenelle and Flaming Gorge, EIA-923 differs from USBR by up to 32 % in 2018-2020 (identical in 2021-2022). The WAPA hourly SCADA data agrees with USBR, so the USBR figures are kept.

Not available: hourly generation after April 2022 (not posted by WAPA).

## 4.4 Pick-Sloan Missouri Basin Program  (folder 4_Pick_Sloan/)

Eastern Division: six USACE Missouri River mainstem dams plus USBR Canyon Ferry and Yellowtail. Western Division: USBR plants in Wyoming and the Colorado-Big Thompson Project. Power marketed by WAPA Upper Great Plains and Rocky Mountain Regions.

| USBR plant (RISE) | Division | Months | Avg annual net generation (GWh) | Installed capacity (MW) |
| --- | --- | --- | --- | --- |
| Alcova | Western Division | 60 | 102 | 41 |
| Big Thompson | Western Division (Colorado-Big Thompson) | 60 | 4.9 | 4.5 |
| Boysen | Western Division | 60 | 64 | 15 |
| Buffalo Bill | Western Division | 60 | 79 | 18 |
| Canyon Ferry | Eastern Division | 60 | 313 | 50 |
| Estes | Western Division (Colorado-Big Thompson) | 60 | 109 | 45 |
| Flatiron Unit 3 (pump-generating) | Western Division (Colorado-Big Thompson) | 60 | 0.32 | 8.5 |
| Flatiron Units 1-2 | Western Division (Colorado-Big Thompson) | 60 | 223 | 86 |
| Fremont Canyon | Western Division | 60 | 211 | 67 |
| Glendo | Western Division | 60 | 80 | 38 |
| Green Mountain | Western Division (Colorado-Big Thompson) | 60 | 38 | 26 |
| Guernsey | Western Division | 60 | 17 | 6.4 |
| Heart Mountain | Western Division | 60 | 19 | 5.0 |
| Kortes | Western Division | 60 | 127 | 36 |
| Marys Lake | Western Division (Colorado-Big Thompson) | 60 | 38 | 8.1 |
| Pole Hill | Western Division (Colorado-Big Thompson) | 60 | 174 | 38 |
| Seminoe | Western Division | 60 | 106 | 52 |
| Shoshone | Western Division | 60 | 19 | 8.6 |
| Spirit Mountain | Western Division | 60 | 16 | 4.5 |
| Yellowtail | Eastern Division | 60 | 790 | 287 |

| USACE dam (EIA-923) | EIA plant id | Months | Avg annual net generation (GWh) |
| --- | --- | --- | --- |
| Big Bend | 3375 | 60 | 1,082 |
| Fort Peck | 6623 | 60 | 1,045 |
| Fort Randall | 3373 | 60 | 1,812 |
| Garrison | 2815 | 60 | 2,518 |
| Gavins Point | 6624 | 60 | 680 |
| Oahe | 3356 | 60 | 2,954 |

Most mainstem dams are in the Eastern Interconnection, not WECC. Fort Peck's five units are split between the Western and Eastern grids.

Divisions (column pick_sloan_division in plant_list.csv): WAPA states that the Eastern Division has eight dams - the six USACE mainstem dams plus USBR Canyon Ferry and Yellowtail (https://www.wapa.gov/about-wapa/regions/ugp/power-projects/). The other USBR plants are Western Division: the Colorado-Big Thompson, Kendrick, Riverton and Shoshone Projects were combined with Pick-Sloan in 1954 and the North Platte Project in 1959 (Federal Register, Loveland Area Projects rate orders). The Fryingpan-Arkansas Project (Mt. Elbert), marketed together with the Western Division as the Loveland Area Projects, is not part of Pick-Sloan and is not included.

Flatiron: RISE reports the two conventional units and the pump-generating Unit 3 separately; EIA-923 reports one plant (id 518). The conventional units match EIA's hydro rows within about 2.5 % except 2019 (+11 %). For Unit 3, EIA's net generation is generation minus pumping energy (negative); RISE gives the two separately (net_generation_kWh, pumping_energy_kWh), and net minus pumping matches EIA exactly in 2019 and 2022 and within 3-15 % in the other years.

Pilot Butte (Riverton Project) has no data in RISE and is not included.

## 4.5 Central Valley Project (CVP)  (folder 5_Central_Valley/)

USBR plants in northern and central California. Power marketed by WAPA Sierra Nevada Region.

| USBR plant (RISE) | Months | Avg annual net generation (GWh) | Installed capacity (MW) |
| --- | --- | --- | --- |
| Folsom | 60 | 458 | 207 |
| Judge Francis Carr | 60 | 268 | 154 |
| Keswick | 60 | 293 | 117 |
| Lewiston | 60 | 1.2 | 0.35 |
| New Melones | 60 | 460 | 380 |
| Nimbus | 60 | 43 | 14 |
| Shasta | 60 | 1,492 | 714 |
| Spring Creek | 60 | 233 | 180 |
| Stampede | 60 | 10 | 3.6 |
| Trinity | 60 | 269 | 140 |

The San Luis (W.R. Gianelli) and O'Neill pumping-generating plants are not in RISE and are not included. Lewiston (0.35 MW) is too small to be reported to EIA, so it has no EIA cross-check.

# 5. Notes for use

Energy units: RISE values are kWh (divide by 1,000 for MWh); EIA-923 values are MWh; SCADA values are hourly MW (= MWh per hour).

Use net_generation_kWh for energy delivered to the grid; gross_generation_kWh - station_service_kWh = net. For the pump-generating Flatiron Unit 3, net minus pumping_energy_kWh is the net contribution.

For CRSP, the hourly SCADA files give the shape within each month; blank hours can be filled from the monthly RISE totals if needed (not done here).

Monthly values are local calendar months; to distribute them to hours, use local time (Mountain or Pacific).

Most Pick-Sloan mainstem generation serves the Eastern Interconnection; check which plants belong in the WECC model before use.

# 6. Accuracy checks (details in VERIFICATION_REPORT.docx)

Every RISE series was downloaded again through its CSV link: 0 differences; units (kWh / kW) confirmed for every series.

CRSP hourly: in every month with no missing hour, the hourly values sum to USBR's monthly gross generation (median ratio 1.000 for all six plants).

CRSP time conversion: Flaming Gorge generation lines up with the USGS gauge just below the dam at 0 h lag in both winter and summer.

RISE annual net generation vs EIA-923: ratio 1.000 for almost all plants (exceptions noted under CRSP and Pick-Sloan).